## Totals
Vendor | TOTAL CATEGORY I BRASS | TOTAL CATEGORY II PVC - WATER | TOTAL CATEGORY III PVC - SEWER | TOTAL CATEGORY IV DUCTILE IRON | TOTAL CATEGORY V MANHOLES | TOTAL CATEGORY VI FIRE HYDRANTS
Municipal Water Works | 0 | 0 | 0 | 0 | 0 | 0
HD Supply Waterworks | 0 | 0 | 0 | 0 | 0 | 0
Ferguson Waterworks | 0 | 0 | 0 | 0 | 0 | 0
ACT Pipe & Supply | 0 | 0 | 0 | 0 | 0 | 0
Indicates Apparent Low Bid

## Sheet1
Description | Est. Qty. | U/M | Unit Price | Total
Couplings, Meter 3/4" X 1-5/8", Round Body | 300 | Ea
Couplings, Meter 3/4" X 2", Round Body | 200 | Ea
Couplings, Meter 3/4" X 2-1/2", Round Body | 300 | Ea
Couplings, Meter 3/4" X 3", Round Body | 100 | Ea
Couplings, Meter 3/4" X 8-1/2", Round Body | 300 | Ea
Couplings, Meter 1" X 2", Round Body | 25 | Ea
Couplings, Meter 1" X 2-5/8", Round Body | 25 | Ea
Couplings, Meter 1" X 3-1/2", Round Body | 25 | Ea
Couplings, Meter 1" X 8-1/2", Round Body | 25 | Ea
Couplings, Meter Male 2 part, C/F, Less Nut 3/4" | 100 | Ea
Couplings, Meter Male 2 part, C/F, 1" | 10 | Ea
Couplings, Meter Male, 2 part, Compression 3/4" | 50 | Ea
Couplings, Meter Male, 2 part, Compression 1" | 20 | Ea
Couplings, Meter Male, 2 part, Compression 2" | 20 | Ea
Couplings, Bends/Male Thread, IPxCF, 3/4" x 90°, Mueller H15530 or equal | 10 | Ea
Couplings, Bends/Male Thread, IPxCF, 1" x 90°, Mueller H15530 or equal | 10 | Ea
Coupling, Comp. Brass, 3/4" “G” | 40 | Ea
Coupling, Comp. Brass 1" “G” | 30 | Ea
Coupling, Comp. Brass 1 1/2" “G” | 10 | Ea
Coupling, Comp. Brass 2" “G” | 10 | Ea
Corporation Stops, 3/4", CCxCOMPRESSION, | 100 | Ea
Corporation Stops, 1", CCxCOMPRESSION | 30 | Ea
Corporation Stops, 2", CCxCOMPRESSION | 10 | Ea
Nipples, 3/4" x Close | 20 | Ea
Nipples, 3/4" x 2" | 20 | Ea
Nipples, 3/4" x 3" | 20 | Ea
Nipples, 3/4" x 4" | 20 | Ea
Nipples, 3/4" x5" | 20 | Ea
Nipples, 3/4" x 6" | 20 | Ea
Nipples, 3/4" x 8" | 10 | Ea
Nipples, 3/4" x 12" | 10 | Ea
Nipples, 1" x CLOSE | 10 | Ea
Nipples, 1" x 2" | 20 | Ea
Nipples, 1" x 3" | 20 | Ea
Nipples, 1" x 4" | 20 | Ea
Nipples, 1" x 5" | 20 | Ea
Nipples, 1" x 8" | 20 | Ea
Nipples, 1" x 12" | 10 | Ea
Nipples, 2" x CLOSE | 10 | Ea
Nipples, 2" x 3" | 10 | Ea
Nipples, 2" x 4" | 10 | Ea
Nipples, 2" x 6" | 10 | Ea
Nipples, 2" x 8" | 10 | Ea
Nipples, 2" x 12" | 5 | Ea
Street Elbows, Female I.P. x Male I.P., 3/4" | 50 | Ea
Street Elbows, Female I.P. x Male I.P., 1" | 25 | Ea
Elbows, 90°, Female I.P. x Female I.P., 3/4" | 50 | Ea
Elbows, 90°, Female I.P. x Female I.P., 1" | 25 | Ea
Elbows, 90°, Female I.P. x Female I.P., 1-1/2" | 10 | Ea
Elbows, 90°, Female I.P. x Female I.P., 2" | 10 | Ea
Tees, I.P , 2"x2"x2" | 10 | Ea
Coupling, Pipe, 3/4" FIPT x 3/4" FIPT | 50 | Ea
Coupling, Pipe, 1" FIPT x 1" FIPT | 20 | Ea
Coupling, Pipe, 2" FIPT x 2" FIPT | 20 | Ea
Bushings, 1" x 3/4" | 10 | Ea
Bushings, 1-1/4" x 3/4" | 10 | Ea
Bushings, 3" x 2" | 10 | Ea
Curb Stops, Ball Valve (360° turn) with locking wing 3/4", FIPxFIP | 100 | Ea
Curb Stops, Ball Valve (360° turn)with locking wing 1", FIPxFIP | 25 | Ea
Curb Stops, Ball Valve (360° turn) with locking wing 2", FIPxFIP | 5 | Ea
Curb Stops, Ball Valve (360° turn)with locking wing 3/4" FIPxCompression Grip | 100 | Ea
Curb Stops, Ball Valve (360° turn) with locking wing 1" FIPxCompression Grip | 50 | Ea
Curb Stops, Ball Valve (360° turn) with locking wing 2" FIPx2"Compression Grip | 10 | Ea
Boxes, Meter, Plastic, NO LIDS Slots cut on both sides, 18" x 14" Bass & Hays, 34P14S or Tyler | 100 | Ea
Boxes, Meter, Plastic, NO LIDS Slots cut on both sides, 18" x 18" Bass & Hays, 34P18S or Tyler | 50 | Ea
Boxes, Meter, Plastic, NO LIDS Slots cut on both sides, 18" x 24" | 10 | Ea
Boxes, Meter, Plastic, NO LIDS Slots cut on both sides, 30" x 18" | 10 | Ea
Boxes, Meter, Plastic, NO LIDS Slots cut on both sides, 30" x 24" | 10 | Ea
Boxes, Meter, Plastic Oval, NO LIDS | 100 | Ea
Flanges, Meter with Bolts, Nuts and Gaskets, 1 1/2" | 20 | Ea
Flanges, Meter with Bolts, Nuts and Gaskets, 2" | 20 | Ea
Bolts, 5/8" x 2 1/2" for Flanges | 25 | Ea
Bolts, Machine, with nuts, 5/8" x 3 1/2", Grade 5 | 100 | Ea
Gaskets, Meter (Washer) 3/4" X 1/8" Rubber | 500 | Ea
Gaskets, Meter (Washer) 1" X 1/8" Rubber | 500 | Ea
Gaskets, Meter (Washer) 1 1/2" X 1/8" Rubber DROP IN | 50 | Ea
Gaskets, Meter (Washer) 2" Rubber | 50 | Ea
Gaskets, Meter (Washer) 3/4" x 1/16" Fiber | 2000 | Ea
Gaskets, Meter (Washer) 3/4" x 1/32" Fiber | 2000 | Ea
Gaskets, Meter (Washer) 1" x 1/8" Fiber | 2000 | Ea
Saddle, Service: 2" x 3/4" CC | 5 | Ea
Saddle, Service: Double Strap 6" x 3/4" CC | 50 | Ea
Saddle, Service:Double Strap 6" x 1" CC | 10 | Ea
Saddle, Service: Double Strap 6" x 2" C/C | 5 | Ea
Saddle, Service: Double Strap 8" x 3/4" C/C | 10 | Ea
Saddle, Service: Double Strap 8" x 1" C/C | 5 | Ea
Saddle, Service: Double Strap 8" x 2" C/C | 5 | Ea
Saddle, Service: Double Strap 10" x 3/4" C/C | 5 | Ea
Saddle, Service: Double Strap 10" x 1" C/C | 5 | Ea
Saddle, Service: Double Strap 10" x 2" C/C | 5 | Ea
Saddle, Service: Double Strap 12" x 3/4" C/C | 5 | Ea
Saddle, Service: Double Strap 12" x 1" C/C | 5 | Ea
Saddle, Service: Double Strap 12" x 2" C/C | 5 | Ea
Repair Clamps (Stainless Steel Only)
4B x 8" O.D. 4.75-5.14 | 10 | Ea
4B x 12" O.D. 4.74-4.14 | 10 | Ea
6C x 8" O.D. 6.84-7.24 | 50 | Ea
6C x 12" O.D. 6.84-7.24 | 50 | Ea
6D x 8" O.D. 7.05-7.45 | 20 | Ea
6D x 12" O.D. 7.05-7.45 | 20 | Ea
6" X 15" FOR C.I and C900 O.D. 6.84-7.24 | 20 | Ea
8B x 8" O.D. 8.54-8.94 | 10 | Ea
8B x 12" O.D. 8.99-9.79 | 10 | Ea
8C x 8" O.D. 8.99-9.39 | 20 | Ea
8C x 12" O.D. 8.99-9.39 | 20 | Ea
8C x 15" O.D. 8.99-9.39 | 10 | Ea
6B x 7-1/2" O.D. 6.84-7.64 | 5 | Ea
8B x 7-1/2" O.D. 8.99-9.79 | 5 | Ea
4B x 12" O.D.4.80-5.10, with 3/4" Tap CC, O.D. 4.74-5.14 | 5 | Ea
6C X 6 3/4" TAP CC | 5 | Ea
6 x 7-1/2" O.D. 6.84-7.24 with 1" Tap | 5 | Ea
8x 7-1/2" O.D. 8.99-9.39 with 1" Tap | 5 | Ea
TOTAL CATEGORY I - BRASS
CATEGORY II - PVC - WATER
Adapter, Sch 40, 3/4" S/S Male | 20 | Ea
Adapter, Sch 40, 1" S/S Male | 20 | Ea
Adapter, Sch 40, 2" S/S Male | 20 | Ea
Adapter, Sch 40, 3/4" S/S Female | 20 | Ea
Adapter, Sch 40, 1" S/S Female | 20 | Ea
Adapter, Sch 40, 1 1/2" S/S Female | 20 | Ea
Adapter, Sch 40, 2" S/S Female | 10 | Ea
Adapter, Sch 40, 4" S/S Female | 200 | Ea
Coupling, Sch 40, 3/4" S/S | 20 | Ea
Coupling, Sch 40, 1" S/S | 20 | Ea
Coupling, Sch 40, 2" S/S | 10 | Ea
Coupling, Sch 40, 4" S/S | 100 | Ea
Coupling, Sch 40, 3/4" Comp. | 50 | Ea
Coupling, Sch 40, 1" Comp. | 10 | Ea
Coupling, Sch 40, 2" Comp./ water | 20 | Ea
Coupling, Sch 40, 2" Comp. / sewer | 20 | Ea
Elbows, Sch 40, 2" x 90° S/S | 5 | Ea
Elbows, Sch 40, 4" x 22-1/2° S/S (Shorty) | 30 | Ea
Elbows, Sch 40, 4" x 45° S/S | 20 | Ea
Elbows, Sch 40, 4" x 90° S/S | 5 | Ea
Wye, 4" SxSxS, Sch 40 | 200 | Ea
Plug, 4" White, Sch 40, Threaded w/Center Raised Square | 200 | Ea
TOTAL CATEGORY II - PVC - WATER
CATEGORY III - PVC - SEWER
Coupling, PVC, 4" S/S, SDR 35 | 50 | Ea
Elbow, 4" x 22 1/2, B/S | 10 | Ea
Elbow, 4" x 45°, B/S | 10 | Ea
Elbow, 6" x 45°, B/S | 10 | Ea
Wyes, 6x6x4 GxGxG, SDR 35 | 40 | Ea
Wyes, 6" GxGxG, SDR 35 | 20 | Ea
6" PVC knock on couplings w/gasket schedule 35 | 20 | Ea
6" PVC glue on couplings | 20 | Ea
6" PVC 45 degree elbow | 40 | Ea
6" PVC 22 1/2 degree street elbow | 15 | Ea
8" PVC 45 degree elbow schedule 35 | 15 | Ea
8" PVC 22 1/2 degree schedule 35 | 15 | Ea
8" PVC knock on couplings schedule 35 | 5 | Ea
8" PVC glue on couplings schedule 35 | 10 | Ea
Wyes, 8x8x4 GxGxG, SDR 35 | 10 | Ea
Wyes, 8x8x6 GxGxG, SDR 35 | 5 | Ea
Wye Saddle, 6x4, SDR 35, Gasketed | 10 | Ea
Wye Saddle, 8x4, SDR 35, Gasketed | 10 | Ea
Coupling, Rubber Boot 4" PVC | 50 | Ea
Coupling, Rubber Boot 6" PVC | 30 | Ea
Reducers, Rubber Boot, 6x4, CLAYxPVC | 10 | Ea
Reducers, Rubber Boot, 4x4, PVCxCLAY | 50 | Ea
Reducers, Rubber Boot, 6x6, CLAYxPVC | 30 | Ea
Reducers, Rubber Boot, 8x6, CLAYxPVC | 10 | Ea
Reducers, Rubber Boot, 8x8 CLAYxPVC | 30 | Ea
TOTAL CATEGORY III - PVC - SEWER
CATEGORY IV - DUCTILE IRON - WITH ACCESSORIES - Gaskets, Glands, & Bolts
Bends, M-J, 6" x 22-1/2° | 5 | Ea
Bends, M-J, 6" x 45° | 5 | Ea
Bends, M-J, 6" x 90° | 5 | Ea
Bends, M-J, 8" x 45° | 5 | Ea
Bends, M-J, 8" x 90° | 5 | Ea
Clean outs, Shoes with lids | 10 | Ea
Lids, Only | 10 | Ea
Plugs, Hex, 6" M-J Solid | 10 | Ea
Plugs, Hex, 8" M-J Solid | 5 | Ea
Plugs, Hex, 10" M-J Solid | 5 | Ea
Plugs, Hex, 12" M-J Solid | 5 | Ea
Plugs, Hex, 6" w/2" Tap M-J | 5 | Ea
Plugs, Hex, 8" w/2" Tap M-J | 5 | Ea
Reducers, 8"-6", M-J/M-J | 5 | Ea
Coupling, Transition, Style FC2A or Equal 6" PVC to 6" transite / 12" Long | 5 | Ea
Coupling, Transition, Style FC2A or Equal 8" PVC to 8" transite / 12" Long | 5 | Ea
Sleeves, Cut In, MJ/PE, 6" | 5 | Ea
Sleeves, Cut In, MJ/PE, 8" | 5 | Ea
Sleeves, Double Hub 6"x12" | 10 | Ea
Sleeves, Double Hub 8"x12" | 5 | Ea
Sleeves, Double Hub 10"x12" | 5 | Ea
Sleeves, Double Hub 12"x12" | 5 | Ea
Sleeves, Double Hub 14"x12" | 5 | Ea
Sleeves, Double Hub 16"x12" | 5 | Ea
Unique Bolt - Gate Valve Locking Nut (Anti-Rotation Bolt) 3/4 | 75 | Ea
Tees, 6x6x6 MJ | 10 | Ea
Tees, 8x8x6 MJ | 5 | Ea
Tees, 8x8x8 MJ | 5 | Ea
Crosses, 6x6x6x6 MJ | 5 | Ea
Valve Box -Shorty, 6" with lids | 50 | Ea
Valve Box Riser Ring with Lid, 1-1/2" | 10 | Ea
Valve Box Riser Ring with Lid, 2 1/4" | 10 | Ea
Valve Box Riser Ring with Lid, 3" | 10 | Ea
Valve Box Riser Ring with Lid, 4" | 10 | Ea
Gate Valves with Accessories - Mueller or Clow Only
4" M-J | 5 | Ea
6" M-J | 30 | Ea
8" M-J | 5 | Ea
10" M-J | 5 | Ea
12" M-J | 5 | Ea
16" M-J | 5 | Ea
Tapping Valves (FlxMJ) , Mueller or Clow Only
4" | 5 | Ea
6" | 5 | Ea
8" | 5 | Ea
10" | 5 | Ea
Megalug Restrainer w/ gasket, bolts & nut for C900
4" | 10 | Ea
6" | 30 | Ea
8" | 20 | Ea
10" | 10 | Ea
12" | 10 | Ea
6" PVS mega-lugs only
8" PVS mega-lugs only
10" PVC mega-lugs only
12" PVC mega-lugs only
Mechanical Gland Packs, with Nuts and Bolts
4" | 10 | Ea
6" | 20 | Ea
8" | 10 | Ea
10" | 10 | Ea
12" | 10 | Ea
14" | 10 | Ea
16" | 10 | Ea
TOTAL CATEGORY IV - DUCTILE IRON
CATEGORY V - MANHOLES
Manholes, Complete | 20 | Ea
Manholes, Lids, 135# 23-1/2 DI | 5 | Ea
Manholes, Rings Only | 5 | Ea
Manhole Risers 24" x 1-1/2" | 10 | Ea
Manhole Risers 24" x 2-1/2 | 10 | Ea
Manhole Risers 24" x 4" | 10 | Ea
Manholes, complete Bass & Hays #VRM-30 | 20 | Ea
Manholes, lids, 210#, 32 x 1 1/2 | 10 | Ea
TOTAL CATEGORY V - MANHOLES
CATEGORY VI - FIRE HYDRANTS
Fire Hydrants, 4' Bury M/J Inlet. Mueller A423 | 10 | Ea
Fire Hydrants, 5' Bury M/J Inlet. Mueller A423 | 10 | Ea
Extension Kits, to include Extension, Stems, Bolts, Nuts, Gaskets, Flange Ext., Etc Wet Barrel, 6" x 6" | 5 | Ea
Extension Kits, to include Extension, Stems, Bolts, Nuts, Gaskets, Flange Ext., Etc. Wet Barrel, 6" x 12" | 5 | Ea
TOTAL CATEGORY VI - FIRE HYDRANTS