N O T I C E  T O  B I D D E R S - REBID

SEALED BIDS for the provision of “Fire Alarm System Inspections, Maintenance and Repair” for  various Washington County Buildings”, Washington, PA 15301 will be received at the Office of the County Controller, 100 West Beau Street, Suite 403, Courthouse Square Office Building, Washington, Pennsylvania 15301, until 11:00 A.M. Prevailing Time, on Wednesday, February 10, 2021.  Late bids are not accepted.

In accordance with Governor Wolf’s guidelines under Pennsylvania’s COVID-19 Disaster Declaration, the public bid opening will be conducted via audio teleconference.  Any interested party may contact the Purchasing Department by phone at 724-228-6946 or by email at snyderto@co.washington.pa.us  prior to the bid opening to obtain call-in instructions.

All bids must be submitted as One Original + One unbound copy according to the specifications and upon a uniform proposal blank.  Specifications and proposal blanks may be picked up at the Washington County Purchasing Office, 100 West Beau Street, Suite 402, Washington, PA 15301 or by submitting a written request to this address. Bidders may fax their written request to the Washington County Purchasing Office at 724-250-6555.

You may obtain the above-mentioned bid proposal from the Washington County Web Site at www.co.washington.pa.us  Vendors receiving bids from the web site are responsible for checking for contract changes at the web site.

Proposal must be accompanied by cash, certified check, cashier’s check, bank good faith check, other irrevocable letter of credit or bid bond in the amount of $4,000 and made payable to the order of the Washington County Commissioners.  Only the Bid Securities listed will be accepted.

SEALED BID ENVELOPE MUST BE MARKED:

BID: FIRE ALARM SYSTEM INSPECTIONS 	                             	     	 			CONTRACT NO.021021-FIRE-REBID

The Washington County Commissioners reserve the right to reject any or all bid proposals.

ATTEST:				WASHINGTON COUNTY BOARD OF COMMISSIONERS:

CYNTHIA B GRIFFIN     		COMMISSIONER DIANA IREY VAUGHAN, CHAIR

CHIEF CLERK			COMMISSIONER LARRY MAGGI, VICE CHAIR

COMMISSIONER NICK SHERMAN

To be advertised: January 19th, January 26th, 2021

PROPOSAL FORM

CONTRACT:		FIRE ALARM INSPECTIONS						DATE:

WASHINGTON COUNTY

TO:			WASHINGTON COUNTY COMMISSIONERS

COURTHOUSE SQUARE

WASHINGTON, PA  15301

In accordance with the advertisement of the Washington County Commissioners, Courthouse Square, Washington, PA inviting proposals for the provision of “Maintenance for Fire Alarm System for various Washington County Buildings, Washington, Pennsylvania, having examined the attached specifications and understanding the same, the undersigned proposes to furnish and comply with all of said specifications for the sum of:

| ITEM | DEPARTMENT | DESCRIPTION | AMOUNT PER Inspection/TEST |
| --- | --- | --- | --- |
| I | COURTHOUSE SQUARE &PARKING LEVELS (B, C, D) | FIRE ALARM SYSTEM (SIMPLEX) | $___________________/inspection |
| II | COURTHOUSE SQUARE | FIRE PUMP STATION | $___________________/inspection |
| III | COURTHOUSE | EDWARDS FIRE ALRM SYSTEM EST3 INSPECTION/TEST | $___________________/inspection |
| IV | COURTHOUSE SQUARE – PUBLIC SAFETY | FIRE ALARM SYSTEM (IES & Notifier NFS-320) | $___________________/inspection |
| V | COURTHOUSE SQUARE – PUBLIC SAFETY | 5 YEAR HYDROSTATIC TEST FOR SPRINKLER SYSTEM | $___________________/inspection |
| VI | FAMILY COURT CENETER | FIRE ALARM SYSTEM (Simplex) | $___________________/inspection |
| VII | FAMILY COURT CENTER | 5-YEAR HYDROSTATIC TEST – SPRINKLER SYSTEM | $___________________/inspection |
| VIII | WHEELING STREET GARAGE AND PARKING STRUCTURE | FIRE ALARM SYSTEM | $___________________/inspection |
| IX | FAMILY COURT CENTER | SPRINKLER SYSTEM | $___________________/inspection |
| X | FAMILY COURT CENTER | 5 YEAR OBSTRUCTION TEST (1) WET SYSTEM | $___________________/inspection |
| XI | COURTHOUSE SQUARE – PUBLIC SAFETY | SPRINKLER SYSTEM | $___________________/inspection |
| XII | COURTHOUSE SQUARE PUBLIC SAFETY | FM 200 SYSTEM | $___________________/inspection |
| XIII | COURTHOUSE SQUARE – INFORMATION TECHNOLOGY | FM 200 System | $___________________/inspection |
| XIV | CORRECTIONAL FACILITY | SIMPLEX FIRE ALARM SYSTEM | $___________________/inspection |
| XV | CORRECTIONAL FACILITY | INSPECTION WITH SENSITIVITY TEST | $___________________/inspection |
| XVI | CORRECTIONAL FACILITY | FIRE SUPPRESSION SYSTEM (ANSUL) | $___________________/inspection |
| XVII | CORRECTIONAL FACILITY | FIRE PUMP SYSTEM INSPECTION | $___________________/inspection |
| XVIII | CORRECTIONAL FACILITY | SPRINKLER SYSTEM | $___________________/inspection |
| XIX | CORRECTIONAL FACILITY | 5 YEAR PIPE CONSTRUCTION/VALVES INSPECTION | $___________________/inspection |
| XX | CORRECTIONAL FACILITY | KITCHEN HOOD Inspection & Cleaning | $___________________/inspection |
| XXI | CALDWELL BUILDING 26 S MAIN ST | FIRE ALRM SYSTEM INSPECTION | $___________________/inspection |
| XXIII | AGING CENTERS | KITCHEN HOODS – CLEANING AND INSPECTIONS | $___________________/inspection |
| XXIV | CONSERVATION DISTRICT BUILDING | SILENT KNIGHT FIRE ALARM SYSTEM | $___________________/inspection |

HOURLY RATE FOR REPAIRS NOT COVERED UNDER ANY SECTION – (PROVIDED ON A TIME AND MATERIAL BASIS)

REGULAR (8 AM TO 5 PM)…………………..$_____________/HOUR

OVERTIME (NIGHTS AND WEEKENDS).$_____________/HOUR

%_____________________ MARK-UP FROM CONTRACTOR’S COST

%_____________________ DISCOUNT FROM MANUFACTURER’S LIST

Proposal must be accompanied by cash,  certified check, cashier’s check, bank good faith check, other irrevocable letter of credit or bid bond in the amount of $4,000 and made payable to the order of the Washington County Commissioners.  Only the Bid Securities listed will be accepted.

_________________________

Name of Bidder

###### ATTEST:______________________				_________________________

(Secretary if bid by a Corp.)					Address

____________________________				_________________________

Signature of Bidder						City, State, Zip

____________________________

TYPED NAME OF BIDDER

(Must be an officer)

FAX NO._____________________ 		Phone #__________________

E-MAIL ADDRESS:___________________________________________

WE ARE REQUIRED TO ISSUE A FORM 1099 FOR PAYMENTS PROCESSED

THIS FORM (pages 2-4)  MUST BE RETURNED WITH BID PROPOSAL

ALL BIDS MUST BE SUBMITTED

AS ONE ORIGINAL + ONE COPY

BY 11:00 A.M.

DATE OF BID OPENING

#### SEALED BID PROPOSALS

MUST BE MARKED:

FIRE ALARM SYSTEM INSPECTIONS

CONTRACT NO. 021021-FIRE-REBID

The following forms must be signed and returned with Bid Proposal.  If the following forms are not signed and returned with Bid Proposal, your bid proposal may not be considered.

- Bid Security

- Proposal Form (page 2 thru 6)

- Anti-Collusion Affidavit (page 28)

- Requirements for Vendors doing Business with Washington County (page 29)

SPECIFIC BID CONDITIONS

1.	Bidders are strongly urged to inspect the premises and all equipment prior to submitting

bids in order to be fully aware of the scope of services required, or any pre-existing

conditions.  Failure to do so will in no way release the successful bidder from performing

in accordance with the strict intent and meaning of these specifications:

Contacts for each building are:

- Courthouse Square, Public Safety, Courthouse, Family Court Center, Caldwell Building, Wheeling Street Parking Garage  - Justin Welsh – 724-250-6520

- Correctional Facility – Paul Krajacic – 724-250-4109

- Public Safety (Beau Street, Airport locations) 724-228-6763

- Airport – Jim Hott – 724-255-0806

2.	TERMS:  The initial term of this contract will be from DOA to December 31, 2022, and the County, unilaterally, may extend year to year to December 31, 2025.

- PRICE CHANGE: Prices for this contract may be increased on or after January 1, 2023 and on each anniversary date thereafter.  Comprehensive documentation will be required to affirm the need for an increase.

Vendor must 	request any such increase in writing.  This written request must be accompanied by the previously mentioned documentation. For example, increases in costs to the vendor shall be evidenced clearly by manufacturer's general trade price lists (before and after lists) and any other relevant correspondence supporting request for increase.

Request for price change must be received 30 days in advance. Vendors must identify the price increase requests by building listing the current line item price and the new price for that item. Increase will become effective upon acceptance by the County 	with written notification of such acceptance to the vendor. Vendor also understands and agrees that the County will receive the benefit of any price decrease given under a general industry price reduction.

- Sections may be awarded in total, per building or per section whichever is in the best interest of the County.

- Washington County reserves the right to add additional locations based upon agreed upon cost per inspection throughout the contract period.

- Washington County reserves the right to change frequency of inspections and shall be invoiced at the per unit costs as submitted on pages 2-6

- Washington County reserves the right to interview any and all prospective bidders for each site.

- The attached equipment list may not be all inclusive, any additional inspections/tests may be required and billed based on awarded unit costs or based on time and material.

6.	TERMINATION FOR DEFAULT:	  The contractor's right to perform this contract

may be terminated by the County in the event services are not performed as called for in

the contract.  Thereafter, the County may have the service performed by others and the

contractor shall be liable for all costs to the County in excess of the contract price for the

remaining portion of the contract.

7.	SUBCONTRACTING:  Any person undertaking a part of the work under the terms of

the contract, by virtue of an agreement with the contractor, who, prior to such

undertaking must receive the approval of the Purchasing Agent.  The County may

terminate the contract if the subcontracting is done without the Purchasing Agent's

approval.

8.	SAFETY MEASURES:  Contractor shall take all necessary precautions for the safety of

employees on the work site and shall erect and properly maintain at all times, as required

by job conditions and progress of the work, all necessary safeguards for the protection of

the worker's and public.

9.	PERFORMANCE:  All work performed shall be of high quality in accordance with good

practices, procedures and industry standards.  The contractor must conform to all federal,

State and Local laws and governmental regulations.

10.	INSURANCE: Please see attached Requirements for Vendors Doing Business with 	Washington County

11.	RESPONSIBILITY OF CONTRACTOR:  At their own expense, the contractor shall:

A.  Obtain all necessary licenses and permits.

B.  Provide competent supervision.

C.  Provide competent workmen.

D.  Take precautions necessary to protect persons or property against injury or damage and be responsible for any such damage, or injury that occurs as a result of their fault or negligence.

E.  Perform work without unnecessarily interfering with County activities or other

contractor (s).

F.  Must comply with all applicable Federal, State and County Regulations.

G.  If during the term of the contract and extension (s) thereto, regulations are passed which in order to comply with the contractor is required to purchase or otherwise obtain equipment which is necessary for the trade, the contractor shall obtain the required equipment at no liability of the County.

12.	ALLOWANCE OF IN-HOUSE WORK:  No section or portion of this contract shall be

construed or interpreted to preclude the County from accomplishing any task or

undertaking of any operation or project utilizing its own work force.

13.    	CONTRACTOR REQUIREMENTS:  The contractor must be able to perform the

required maintenance and service and have direct access to OEM parts.  The contractor

must also have and show proof of the following:

A1.  	At least two (2) qualified service technicians on staff with at least two (2) years,

individually, or more experience on commercial fire alarm systems.

A2.  	Contractor must demonstrate ability to obtain, or have access to, OEM parts, in the   time frame necessary to fulfill the response specific requirements for emergency service.

A3.	Contractor must have the ability to perform preventative maintenance and repairs on all equipment listed.

A4.	Contractor must demonstrate ability to obtain, or have access to, OEM parts, in the   time frame necessary to fulfill the response specific requirements for emergency service.

A5.	The vendor shall consult with the owner at the time of inspection or otherwise as requested to discuss the life expectancy and future availability of parts/supplies. They shall also provide support and consultation in regard to the needs for system updates.

14.	EXECUTION OF WORK:  The authorized representative from the County departments

and/or agencies, shall be responsible for:

A.  Instructing the contractor of what the work consists of and materials/equipment to be

used when applicable.

B.  Approve a record of time and materials used for the job as maintained by the

contractor, and state on the work ticket that they inspected and accepted the work

performed.

15.	INSPECTION SHEET:  The contractor shall post in a conspicuous place, at site

location, a check sheet and enter thereon the date of each inspection visit, the name of the individual performing the inspection, and the time of the inspection.

16.	IDENTIFICATION:  Employees of the contractor shall have proper identification and present same prior to servicing equipment.

17.	SERVICE:  Vendor must have ability to provide service on a time and material basis, twenty four (24) hour, seven (7) days a week.  Response time will be within two (2) hours of notification for emergency calls.

All inspections and services are not to be performed without prior approval from the County representative.  If inspection or service is not pre-authorized, invoice is subject to non-payment.

18.	TIME AND MATERIAL:

- Jobs estimated to exceed 21,300 may not normally be performed under this contract but may be subject to competitive bidding procedures.

- For all facilities repairs must be approved by the department head.

- An itemized invoice must be received prior to payment.  All invoices must list the contract number.  Invoices that do not list the contract number will be returned.

19.	All of the contractor's costs, travel, fuel surcharges, taxes, insurance, overhead, and profit shall be included in the price quoted per inspection/test and for labor (under time and material).  Washington County will not pay for any additional fees.

20.	All material, parts, and labor must be included in the cost for tests/inspections.  Only parts required for repairs under time and material will be authorized.  A written quote shall be presented and prior approval must be obtained before any repairs are performed.

21.	Contractor will be required to enter into a contract with the County.  Upon receipt of a fully executed contract & required insurance certificates, the awarded vendor’s bid security will be returned.  Bonds of non-successful bidders will be returned upon award of bid.

Specifications for Fire Alarm Inspection

I.    Courthouse Square Building & Parking levels B,C,D

- One (1) scheduled yearly inspection of the entire Fire Alarm System including parking levels B,C and D of the parking garage.

- Check control systems operation and make adjustments as necessary.

- All batteries throughout the system, including closet areas,  are to be load tested and noted as fully operational or need to be replaced.

- Sound audible and visual signals shall be tested and verified.

- Remove, visually inspect for damage and clean all smoke detectors.

- Report any defects detected.

- Please refer to Attachment "A" for a list of maintained equipment and maintenance tasks performed.

II.    Courthouse Square Fire Pump                                                                                                                                                                                                                                                           One (1) scheduled yearly inspection of the Fire Pump System on D – level of the parking garage. Currently, Centrifugal fire pump, Peerless pump co. Controls are: Tornadic, fire & jockey pump

- Check control system operation and make adjustments.

- Inspect main controller and pump.

- Inspect all disconnect switches.

- Inspect jockey pump and associated controllers

- Report any defects detected.

- Please refer to Attachment "A" for a list of maintained equipment and maintenance tasks performed.

III.	Courthouse – Edwards fire alarm system

- One (1) scheduled yearly inspection of the entire Fire Alarm System

- Check control systems operation and make adjustments as necessary.

- All batteries throughout the system, including closet areas,  are to be load tested and noted as fully operational or need to be replaced.

- Sound audible and visual signals shall be tested and verified.

- Remove, visually inspect for damage and clean all smoke detectors.

- Report any defects detected.

- Please refer to Attachment "A" for a list of maintained equipment and maintenance tasks performed.

IV.    Courthouse Square - Public Safety Fire Alarm System

- Two (2) scheduled semiannual inspection of the entire FM-200 system.

- Check control systems operation and make adjustments as necessary.

- DO NOT DISCHARGE ANY AGENT WHILE PERFORMING TEST.

- One (1) scheduled yearly inspection of the entire Fire Alarm System.

- Check control systems operation and make adjustments as necessary.

- All batteries throughout the system are to be load tested and noted as fully operational or need to be replaced.

- Sound audible and visual signals shall be tested and verified.

- Remove, visually inspect for damage and clean all smoke detectors.

- Report any defects detected.

Please refer to Attachment "A" for a list of maintained equipment and maintenance tasks performed

V.    Courthouse Square - Public Safety Sprinkler System

- 5 year hydrostatic test at 150 psi for 2 hours

- Check valves

- NFPA 25 inspection code requirements for automated fire sprinkler system

- Report any defects detected.

VI.    Family Court Center Fire Alarm System

- One (1) scheduled yearly inspection of the entire Fire Alarm System.

- Check control systems operation and make adjustments as necessary.

- All batteries throughout the system are to be load tested and noted as fully operational or need to be replaced.

- Sound audible and visual signals shall be tested and verified.

- Remove, visually inspect for damage and clean all smoke detectors.

- Report any defects detected.

Please refer to Attachment "A" for a list of maintained equipment and maintenance tasks performed

VII	Family Court Center - Sprinkler System

- 5 year hydrostatic test

- Check valves

- NFPA 25 inspection code requirements for automated fire sprinkler system

- Report any defects detected.

.

VIII.    Wheeling Street Garage and Parking Structure Fire Alarm System

- One (1) scheduled yearly inspection of the entire Fire Alarm System.

- Check control systems operation and make adjustments as necessary.

- All batteries throughout the system are to be load tested and noted as fully operational or need to be replaced.

- Sound audible and visual signals shall be tested and verified.

- Remove, visually inspect for damage and clean all smoke detectors.

- Report any defects detected.

Please refer to Attachment "A" for a list of maintained equipment and maintenance tasks performed

IX.    Family Court Center Sprinkler Flow Test

- Four (4) scheduled quarterly inspection of the entire Sprinkler Alarm System.

- Check control systems operation and make adjustments as necessary.

- Sound audible and visual signals shall be tested and verified.

- Remove, visually inspect for damage and clean all smoke detectors.

- Report any defects detected.

Please refer to Attachment "A" for a list of maintained equipment and maintenance tasks performed

X	Family Court Center

- 5 YEAR OBSTRUCTION TEST

- Check control systems operation and make adjustments as necessary.

- Sound audible and visual signals shall be tested and verified.

- Report any defects detected.

Please refer to Attachment "A" for a list of maintained equipment and maintenance tasks performed

XI    Public Safety Sprinkler Flow Test

- Four (4) scheduled quarterly inspection of the entire Sprinkler Alarm System.

- Check control systems operation and make adjustments as necessary.

- Sound audible and visual signals shall be tested and verified.

- Remove, visually inspect for damage and clean all smoke detectors.

- Report any defects detected.

Please refer to Attachment "A" for a list of maintained equipment and maintenance tasks performed

XII.    Public Safety FM-200 System

- Two (2) scheduled semiannual inspection of the entire FM-200 system.

- Check control systems operation and make adjustments as necessary.

- DO NOT DISCHARGE ANY AGENT WHILE PERFORMING TEST.

- Sound audible and visual signals shall be tested and verified.

- Remove, visually inspect for damage and clean all smoke detectors.

- Report any defects detected.

Please refer to Attachment "A" for a list of maintained equipment and maintenance tasks performed

XIII.    Information Technology FM-200 System

- Two (2) scheduled semiannual inspection of the entire FM-200 system.

- Check control systems operation and make adjustments as necessary.

- DO NOT DISCHARGE ANY AGENT WHILE PERFORMING TEST.

- Sound audible and visual signals shall be tested and verified.

- Remove, visually inspect for damage and clean all smoke detectors.

- Report any defects detected.

Please refer to Attachment "A" for a list of maintained equipment and maintenance tasks performed

XIV. Correctional Facility

- 100% fire alarm inspection – Software within this system is with Simplex Grinnell, Awarded vendor must have capability to provide software code programming.

- Alarm Signal circuits to be tested.

- Phone dialer connection to be tested.

- City trip to be tested.

- Clean all access able smoke detectors.

XV. Correctional Facility – INSPECTION W/ SENSITIVITY TEST

- 100% fire alarm inspection – Software within this system is with Simplex Grinnell, Awarded vendor must have capability to provide software code programming.

- Alarm Signal circuits to be tested.

- Phone dialer connection to be tested.

- City trip to be tested.

- Clean all access able smoke detectors.

XVI – Correctional Facility - Ansul System (Semi annual inspection)

- The vendor/technicians must be trained and qualified to provide service to all equipment and parts within the system.

- The vendor must supply an inspection/service report upon conclusion of the inspection. The report shall list all equipment that was inspected and the specific repairs that were performed. A copy of the report shall be provided to the Building Engineer and/or the Food Service Director.

- The system shall be tested and inspected in accordance to the manufactures published guidelines and any mandatory codes that would apply.

- The inspections dates and times shall be scheduled in advance and coordinated with the Facility Food Service Director and/or the Building Engineer.

XVII – Correctional Facility – Fire Pump

One (1) scheduled yearly inspection of the Fire Pump System

- Check control system operation and make adjustments.

- Inspect main controller and pump.

- Inspect all disconnect switches.

- Inspect jockey pump and associated controllers

- Report any defects detected.

- Please refer to Attachment "A" for a list of maintained equipment and maintenance tasks performed.

XVIII Correctional Facility -  Sprinkler Flow Test

- Four (4) scheduled quarterly inspection of the entire Sprinkler Alarm System.

- Check control systems operation and make adjustments as necessary.

- Sound audible and visual signals shall be tested and verified.

- Remove, visually inspect for damage and clean all smoke detectors.

- Report any defects detected.

Please refer to Attachment "A" for a list of maintained equipment and maintenance tasks performed

XIX Correctional Facility – 5 year pipe construction/valves inspection

- Five year scheduled inspection of the pipe construction to include inspection of all valves.

- Report any defects detected.

Please refer to Attachment "A" for a list of maintained equipment and maintenance tasks performed

XX Correctional Facility

- Kitchen hood duct inspection and cleaning (annual inspection/cleaning)

- The vendor/technicians must be trained and qualified to provide service to all equipment and parts within the system.

- The vendor must supply an inspection/service report upon conclusion of the inspection. The report shall list all equipment that was inspected and the specific repairs that were performed. A copy of the report shall be provided to the Building Engineer and/or the Food Service Director.

- The system shall be tested and inspected in accordance to the manufactures published guidelines and any mandatory codes that would apply.

- The inspections dates and times shall be scheduled in advance and coordinated with the Facility Food Service Director.

XXI CALDWELL Building Fire Alarm System

- One (1) scheduled yearly inspection of the entire Fire Alarm System.

- Check control systems operation and make adjustments as necessary.

- All batteries throughout the system are to be load tested and noted as fully operational or need to be replaced.

- Sound audible and visual signals shall be tested and verified.

- Remove, visually inspect for damage and clean all smoke detectors.

- Report any defects detected.

Please refer to Attachment "A" for a list of maintained equipment and maintenance tasks performed

XXIII Aging Centers – Kitchen Hood

- Kitchen hood duct inspection and cleaning (annual inspection/cleaning)

- The vendor must supply an inspection/service report upon conclusion of the inspection. The report shall list all equipment that was inspected and the specific repairs that were performed. A copy of the report shall be provided to the Building Engineer and/or the Food Service Director.

- The system shall be tested and inspected in accordance to the manufactures published guidelines and any mandatory codes that would apply.

- The inspections dates and times shall be scheduled in advance and coordinated with the Facility Food Service Director.

XXIV Conservation District Building Fire Alarm System

- One (1) scheduled yearly inspection of the entire Fire Alarm System.

- Check control systems operation and make adjustments as necessary.

- All batteries throughout the system are to be load tested and noted as fully operational or need to be replaced.

- Sound audible and visual signals shall be tested and verified.

- Remove, visually inspect for damage and clean all smoke detectors.

- Report any defects detected.

Please refer to Attachment "A" for a list of maintained equipment and maintenance tasks performed

COURTHOUSE SQUARE, PUBLIC SAFETY, COUNTY COURTHOUSE, FAMILY COURT CENTER, WHEELING STREET GARAGE/PARKING STRUCTURE AND INFORMATION TECHNOLOGY

1.  Specially trained technicians, engineers and mechanics are to be available to conduct the necessary tasks to ensure equipment is properly maintained.

2.  Each piece of covered equipment receives inspection(s) as noted.

3.  The scheduled inspections will be determined by the County Building Maintenance Director and the vendor based on experience, manufactures' recommendations, usage, location and run-time intervals.

4.   A service report will be completed after each call and provided to the customer. A duplicate record will be maintained at the vendor's site to update the history of the work performed.  This must be signed by the County Building Maintenance Director.

WCCF

1.  Specially trained technicians, engineers and mechanics are to be available to conduct the necessary tasks to ensure equipment is properly maintained.

2.  Each piece of covered equipment receives an annual inspection.

3.  The scheduled inspections will be determined by the WCCF County Building Maintenance Director and the vendor based on experience, manufactures' recommendations, usage, location and run-time intervals.

4.   A service report will be completed after each call and provided to the customer. A duplicate record will be maintained at the vendor's site to update the history of the work performed.  This must be signed by the WCCF County Building Maintenance Director.

I.     Courthouse Square - Simplex

Control Panel / Central Processing Unit 4002-9101, Serial #V49577 – Garage Storage Area Control Panel / Central Processing Unit 4100-8201, Serial #H58338 – Electrical Switch Gear RM

Alarm Initiating Devices					QTY

Duct Smoke Detector						35

Photo Smoke Detector					44

Pull Station  - Single Action					54

Water Flow Detector						11

Alarm Indicating Devices					QTY

Audio Visual Signal Device					10

Ammuniciator							3

Supervisory Devices						QTY

Sprinkler Tamper Switch					23

II.    Washington County Courthouse Square – Fire Pump

Centrifugal fire pump, Peerless Pump Co.

Controls: Tornadic, fire & jockey pump

III.    Washington County Courthouse – Edwards - Gamewell

QTY

Control System LSS4/12						1

Smoke Detectors 2430B						76

Horns 2452-15/75B							20

Pull Stations 270-SPO						1

Fire Alarm Panel 974							1

Annunciator (Gamewell)						1

IV – Courthouse Square – Public Safety

Fire Alarm System (IES & Notifier NFS-320)

V – Courthouse Square – Public Safety – Sprinkler System

IIE. 	Family Court Center - Simplex

Annual								QTY

Control Panel / Central Processing Unit 4010 -9101			1

Dual Circuit City Connect Module 4010-9809			1

Back up Batteries 2081-9274						2

NAC Power Extender Panel, 120VAC 4009-9201			1

Back up Batteries 6.2 Amp Hrs 2081-9272				2

LCD Annunciator 4606-9101						1

TrueAlarm Quick-Connect Smoke Sensor 4098-9757		42

2-Wire Base Detector 4098-9788					42

TrueAlarm Heat Sensor 4098-9733					5

Standard Sensor Base 4098-9792					5

IDNet Addressable Manual Station 4099-9001			12

Analog Photo Sensor with Heat 4098-9754				2

Multi-Sensor Base w/LED 4098-9796				2

QuickAlert Horn / ADA Strobe 4903-9417				43

TrueAlert Non-Addressable ADA Visual Strobe Unit 4904-9331	24

IDNet Supervised IAM 4090-9001					12

IDNet Relay IAM 4090-9002						3

TrueAlarm Duct Housing and Sensor 4098-9756			2

49” Sampling Tube 2098-9797					2

PAM-1 SD Supervised Relay  4098-9843				2

Fire Alarm Gamewell M/Box LE M34-56, 2095-9001		1

IIIA.	Correctional Facility - Simplex

QTY

Simplex Fire Alarm Control Panels 4100 – 8201, Serial #H58338 CP	     1

Simplex Fire Alarm Control Panels 4002-9101, Serial #V49577		     1

Simplex Fire Alarm Annunciator 4100, Date 10-7-94				     3

Simplex Fire Alarm Smoke Purge Panel					     1

Simplex Fire Alarm Control Monitor (in Central Control)			     1

Duct Smoke Detectors								    35

Photo Smoke Detectors							    44

Pull Stations – Single action							    54

Water Flow Detector								    11

Sprinkler Tamper Switches							    23

Audio/Visual Signal Device							    10

IIIB- Equipment							QTY

Ansul R-102 wet chemical Fire Suppression system

Serial number R: 373844					1

Supply tanks							2

Surface nozzles						6

Duct nozzles							4

Plenum nozzles						4

Duct detectors							5

Ansul R-102, 3 gallon liquid agent tank			1

IIID - Automatic Sprinkler system (Bi annual inspection/test)

Full Flow Fire Pump and Sprinkler Test.			1

The Facility is a 110,000 square foot, 7 story building equipped

with;

ITT A-C Pump (750gpm)					1

Stand pipes							3

All vendors are encouraged to examine the equipment covered under the agreement.

IIIE - Kitchen hood duct inspection and cleaning (annual inspection/cleaning)

Hood

(overall measurement is approximately

14 ½ ft long x 9 ½ ft. wide x 36 in. from ceiling to bottom)	1

Duct sections (2ft. wide x 6ft. long x 6ft. high)		2

(4ft. x 4ft. x 4ft.)				1

(4ft. x 4ft. x 40ft long)				1

IVB – Aging Centers – Kitchen Hood – Semi- Annual Cleaning and Inspections

Each location has one each

Bentleyville Center					Beth Center Senior Center

931 Main Street						Box 151, Station Street

Bentleyville, PA 15314					Vestaburg, PA 15368

Canonsburg Senior Center				Venetia Community Center

30 East Pike Street					800 Venetia Road

Canonsburg, PA 15317					Finelyville PA 15332

Claysville – McGuffey Senior Center			Cross Creek Senior Center

Box 64, 105 Green Street				RD#2, 28 Clark Avenue

Claysville, PA 15323					Avella, PA 15312

McDonald/Cecil Senior Center				Washington Senior Center

Cecil Municipal Building				69 West Maiden Street	3599 Millers Run Road					Washington, PA 15301

Cecil, PA 15321

#### INSTRUCTIONS TO BIDDERS

1.	Bidder Responsibility - We expect you to be thoroughly familiar with all specifications and requirements of this bid.  Your failure or omission to examine any relevant form, article, site or document will not relieve you from any obligation regarding this Bid.  By Submitting a Response, you are presumed to concur with all terms, conditions and specifications of this Bid unless you have specifically, by Section number, raised objection in writing and submitted it with your bid. Objections we consider excessive or affecting vital terms may reduce or eliminate your prospects for award.

2.	Bidder may withdraw his bid by making a properly authorized and executed written application to the Controller's office prior to the deadline for the submission of bids.  Certain bids may be withdrawn after the bid opening if in compliance with the act of January 23, 1974, P.L. 9 No.4 : 1 et seq. 73 PS : 1601 et seq.

3.	Contract – By submitting a bid, the bidder warrants that if the County makes an award to the bidder, bidder shall, at the option of the County, enter into a written contract with the County.  This contract shall consist of the terms and conditions set forth in the Bid, Bulletins (if applicable), Specifications, and these Instructions to Bidders.  If no bid bond or substitute is required and bidder shall pay to the County the difference in the amount specified in bidder’s bid and the amount County shall pay to fulfill the specifications.

4.  Permits and Fees:

If applicable, the Contractor shall secure and pay for, all permits, fees licenses and inspections necessary for the proper execution and completion of the work which are customarily secured after execution of the agreement and which are legally required.

5. Other Entity Use:

The successful bidder may be requested to convey their bid prices, contract terms and conditions to municipalities or other governmental agencies within the County of Washington.

All orders, deliveries and invoices will be the responsibility of the participating governmental agencies.  Washington County will not be responsible for any orders, deliveries and invoices placed by the participating governmental agency.

6.	Contract Approval – The Washington County Commissioners must approve the contract resulting from this solicitation.

A sample contract may be attached for review as part of this solicitation.  Exceptions to the County’s standard contract form may result in rejection of your bid or proposal.  The County will prepare a formal contract specific to this solicitation for execution by the successful contractor & the Board of County Commissioner.

6.  Sample Form Contract – The County’s form contract may be attached as part of this solicitation.  The vendor’s submission of a bid response without identifying exceptions expressly acknowledges and formally evidences the vendor’s acceptance of all terms and conditions of the form contract.  Any and all exceptions must be submitted in writing in the vendor’s bid response.

If the vendor submits an exception, which alters the County’s risk, liability, exposure in, or the intent of this procurement, the County reserves the right in its sole and absolute discretion to deem the vendor non-responsive.

All vendors further understand and agree that the County will accept no vendor exceptions to the form contract at any time after submission of the bid response.

7.	All contracts entered into will be executed in Washington County, Pennsylvania.  The parties acknowledge that the jurisdiction and venue for any dispute or any occurrence hereby arising out of the contract or out of performance of the contract or any other matter relating to Washington County shall be in the Court of Common Pleas of Washington County, Pennsylvania, and in no other location.  This provision shall be deemed to be an integral part of any contract entered into by any contractor with Washington County.

8.    The County is required by State and Federal regulations  to determine if any employee or contractor or vendor is excluded from  participation in  any Medicare, Medicaid, or  other health care program. If it has been determined that if  any employee or contractor, both individual and entity,  is on the exclusion list, said individual or  entity must be reported to the Department of Public Welfare’s Bureau of Program Integrity (BPI).Furthermore, in order to preserve funding through these programs, the County is required to immediately terminate excluded employees and to immediately terminate any contact with any vendor who is either on an exclusion list or employs an individual or individuals who are on such lists.

Federal health care programs (including Medicaid and SCHIP programs ) are prohibited from paying for any goods  or services furnished, ordered, or prescribed by excluded individuals or entities.  Washington County will have no alternative but  to cancel any existing contracts  with  excluded vendors or vendors who employs an excluded individual or entity. The County will not be responsible for any payment of goods or services furnished, ordered, or prescribed by excluded individuals or entities.

Bidders responding to proposals affected by these regulations accept an affirmative duty to verify that neither they nor their employees have been excluded from participation in Medicare, Medicaid, or any other health care program pursuant to Pennsylvania Department of  Public Welfare (DPW) Medical assistance recommendations interpreting the United States Department of Health and Human Services' Office of Inspector General's regulations.

All County contracts with any contractor identified as meeting the criteria requiring exclusion screening must include the requirement that the contractor will develop and institute exclusion screening policies and procedures that conform to DPW recommendations  and County requirements to assure compliance with federal regulations concerning suspension/debarment of all covered individual and entities.

9.    Washington County may request a complete background search of any individual working on County projects to determine if the individual has committed any serious acts and has been cleared by the Pennsylvania State Police before being hired by the Contractor and placed on the job in County facilities.

10. Washington County may request proof of financial stability.  Request for financial statements may be for the past three years or other methods of proof.  The County may secure financial information about the bidder from third party sources such as, but not limited to, credit reporting agencies, Dun & Bradstreet, and other firms to which bidder has provided services.

11.  By submitting their Proposal, Bidders certify they do not and will not during the performance of this contract employ illegal alien workers or otherwise violate the provisions of the Federal Immigration Reform and Control Act of 1986."

12.  SUBCONTRACTING: Any person undertaking a part of the work under the terms of the contract, by virtue of an agreement with the contractor, who, prior to such undertaking must receive the written approval of the Director of Purchasing.  The County may terminate the contract if the subcontracting is done without the Director of Purchasing’s approval.  Invoices relating to any work performed by a subcontractor are subject to non payment if prior written approval has not been received by the Director of Purchasing.

13. TERMINATION:

This Agreement shall continue in force until the end of its term, and shall automatically terminate at the end of its term, unless County terminates this Agreement earlier by providing thirty (30) days' notice to Contractor of its intent to terminate.

County may terminate this Agreement at any time for any reason with or without cause; however, in the event County elects to terminate this Agreement, Contractor shall be entitled to compensation for services provided up to the point of termination.

14.	If any alleged errors are noted in the bid specifications, Bidder should immediately notify the county and, if confirmed, a bulletin shall be sent to all Bidders.  A copy of all bulletins issued shall be submitted with the bid documents to the County.

15.	In completing the bid documents, Bidder should not add, delete or vary any of the terms or conditions or the documents prepared by the County.  If the Bidder makes any substantial changes in any of the documents, the county may, in its discretion, either reject the bid or waive the discrepancy.  Bidder warrants that all goods and services described by the Bidder in its proposal, and all samples submitted by Bidder to the County shall conform to the specifications.  The Director of Purchasing & the County Solicitor may waive insubstantial errors in the bid proposal and specifications.

16.	The County may, at its discretion, provide a bid form in electronic file (EXCEL spreadsheet format).  If applicable for this project, the electronic file may be downloaded from  our website, or is included with bid documents made available as outlined in the Invitation for Bids.  Be advised that use of the bid form made available electronically is at the bidder’s discretion.  The bidder assumes full responsibility for the integrity of the completed bid form submitted, and acknowledges that no changes or alterations to the bid form structure or content, other than the bidder’s pricing, are allowed.  Should any changes or alterations to the bid form structure or content be detected, the bid may be determined to be non-responsive and, therefore, disqualified.

The County reserves the right to correct formula errors on the bid form.

17.	The Bidder will quote price for such quantities as shown and no change in price will be made during the period of the contract.

18  Washington County reserves the right to add additional like supplies and/or service to existing bid contract through-out term of contract based on an agreed upon cost.

Additional like service or supplies are not to be provided without written approval.  If prior approval has not been received, invoices are subject to non-payment.

All work or commodity exceeding $18,500 must receive prior approval by the Board of County Commissioners.

19.	One price only will be considered for each item.  When two prices are quoted both will be rejected.

20.	All items subject to testing after delivery.

21.	Unless otherwise provided in the specifications, all goods supplied to the County will be from new, unused, or current stock.

22.  Warranty: Unless otherwise noted by Washington County in the general terms and conditions, the bidder warrants that all products, equipment, supplies, and or service delivered under this contract shall be covered by the industry standard or better warranty.  All products and equipment shall carry a minimum industry standard manufacturer’s warranty that includes materials and labor.  Dealer/Distributers agree to assist the purchaser in reaching a solution in a dispute over warranty’s terms with the manufacturer.

23. No Bidder may submit more than one bid for the same item, nor may he submit multiple by or through the agency of any partner, employee, or other person

24.	By submitting a bid, the Bidder agrees to DELIVER TO the County, at the County's request at no additional cost to the County, samples of any goods or workmanship bid.  Said samples will be returned to the bidder, if requested within ten (10) days of bid award; Provided, however, that the County shall not be liable for damage to or destruction or consumption of these samples occurring in the ordinary course of reasonable inspection and testing.  Inspection or testing by the County does not constitute a waiver of any claims or rights which the county would otherwise have with respect to the quality of goods or workmanship.

25.	Unless otherwise provided in the specifications, any references in the specifications to the quantities of goods or frequency of services to be provided to the County are estimates, and the County reserves the right to require the successful Bidder to provide more or less than the estimated quantity or frequency, or to purchase none at all.  If the County requires more than the estimated quantity during the bid person, the Bidder shall supply such additional quantity at the per UNIT COST submitted in their proposal.

26.	Unless otherwise provided in the specifications, all prices shall remain fixed throughout the term of the contract, and bids containing escalation, discount, or other price adjustment provisions will be rejected if such provisions are not consistent with a common standard against which all bids may be judged.

27.Errors in Bids – When an error is made in extending total prices, the unit bid price will govern.  Erasures in bids must be initialed by the bidder.  Carelessness in quoting prices, or in preparation of bid otherwise, will not relieve the bidder.  Bidders are cautioned to recheck their bids for possible errors.  Errors discovered after public opening cannot be corrected and the bidder will be required to perform if his or her bid is accepted.

28.All billing is to be done on a monthly basis and in unit amounts indicated on bid.  Invoices and delivery slips must reference the contract number and bid item number.  Invoices that do not reference the contract number, bid item number and the correct unit amounts will be returned.  Billing must be current, any bills issued after 90 days will not be considered.

29.	"Under Section 204(12) of the Tax Revenue Code sales of tangible personal property to Washington County are not taxable.  Under Section 204(57) of the Tax Revenue Code the sale at retail by a construction contractor of building machinery and equipment and services thereto to Washington County is also not taxable.  Purchases by a contractor are taxable to the contractor except for purchases that are not taxable pursuant to the above provisions."

30.	Unless otherwise provided in the invitation for bid, the name of a certain brand, make or manufacturer does not restrict bidders to the specific brand, make or manufacturer named; it conveys the general style, type, character, and quality of the article desired, and any article which the County in its sole discretion determines to be equal of that specified, considering quality, workmanship, economy of operation, and suitability for the purpose intended, shall be accepted.

31.	Bidder agrees and warrants that whenever the Bidder, in its proposal, describes any goods by trade name, catalog number or “as per sample” the goods so described conform to the specifications.  When a “name brand” is specified it is for reference only.  The product supplied is to be of same quality as brand specified.  If not noted, it will be assumed that the vendor is supplying name brand specified.  Vendor must provide documentation and/or sample that alternate brand meets specifications.

32.	PRODUCT ENDORSEMENT:  Contracting with a vendor as a result of this RFP/Bid will not constitute an endorsement or suggestion, by Washington County, that the vendor’s product or services are the best or only solution.  In submitting a proposal the vendor agrees to make no reference to Washington County in any literature, promotional material, brochures, sales presentation or the like without the express written consent of the Washington County Board of Commissioners.

33.	Unless otherwise provided in the specifications, where more than one item is listed on the proposal, the County may make a single award covering all items listed, or a separate award for each item, or awards for any combination or combinations of items, whichever is in the best interest of the county.

34.	Equal Low Bids:  When tie bids occur, awards may be made on the following basis:

- Past Performance

- Local Supplier (Firm within Washington County)

- Splitting awards

35.	The County reserves the right to reject the bid of any Bidder who has failed to satisfactorily perform any obligations to the County.

36.	The County reserves the right to reject all bids, if determines that such rejection is in the best interests of the County.

37.	If this bid is subject to the "Steel Procurement Act", 1978, March 3, P.L. No. 3 : 1, 73 P.S. :1881, et seq., a certificate of such must be included.

38.	Please submit OSHA Material Safety Data Sheet for any product containing hazardous substances to Washington County.

39.	All bids are to be submitted in ink or typewritten.  Sealed Bids will be received only between the hours of 9:00 A.M. and 4:30 P.M. at the Washington County Controller’s Office, 100 West Beau Street, Ste 403, Washington PA 15301.  Proposals delivered to an address other than as specified, will not be considered.  Washington County will not accept responsibility for proposal or bid response being delivered by third party carriers.

40.	Unless stated otherwise, all items requiring delivery are to be delivered inside county building as designated by the Washington County Purchasing Agent.  All prices must include inside delivery.  The county will not pay for delivery charges.

41.	All deliveries require “Proof of Delivery” signed by a County authorized representative.  Washington County will not be responsible for any orders misplaced without a signed Proof of Delivery.

42 In the event prompt delivery is not made, the contractor and/or  his surety will be held responsible for the difference in costs of materials purchased elsewhere over that specified in the contract.

43.	Washington County will have no financial obligations to any vendor for deliveries that do not meet our specifications.  If item or items are not picked up within thirty (30) days of delivery, Washington County will dispose of them.

44.     	No interpretation of the meaning of the plans, specifications, or other prebid documents will be made to the bidder orally.  Every request for such interpretation should be in writing addressed to Washington County Purchasing Office, 100 West Beau St. Suite 402, Washington PA 15301.  To be considered the request must be received at least 10 days prior to the date fixed for opening of the bid.

45	Pursuant to Act 142, Senate Bill 1154, Effective February 20, 2001:

The contract shall be awarded, or all bids shall be rejected, within thirty days of the opening of the bids, except for bids subject to 62 Pa.C.S. (relating to procurement).  Thirty-day extensions of the date for the award may be made by mutual written consent of the commissioners and any bidder who wishes to remain under consideration for award.  The commissioners shall excuse from consideration any bidder not wishing to agree to a request for extension of the date for the award and shall release such bidder from any bid bond or similar bid security furnished under subsection (f).

46.	     Pursuant to Act 142, Senate Bill 1154, Effective February 20, 2001:

The commissioners may require that any bids advertised be accompanied by cash, by a certified check, cashiers check, bank good faith check or other irrevocable letter of credit in a reasonable amount drawn upon a bank authorized to do business in this Commonwealth, or by a bond with corporate surety in a reasonable amount.   Whenever it is required that a bid be accompanied by cash, certified check, cashier’s check, bank good faith check or other irrevocable letter of credit or bond, no bid shall be considered unless so accompanied.  Bid securities of unsuccessful bidders shall be returned upon official award.  Bid security of successful bidder shall be returned upon execution of an agreement.

47.	Bid results are available for review by all vendors.  Appointments to review bids are encouraged.  Due to the time involved and the volume of bids processed bid tabulations are not mailed or read over the phone.  The bid tabulation sheets are posted on the Washington County web site for thirty (30) days after bid award.  Web site address:   www.co.washington.pa.us

NONDISCRIMINATION CLAUSE

During the term of this contract, Contractor agrees as follows:

1.	Contractor shall not discriminate against any employee, applicant for employment, independent contractor, or any other person because of race, color, religious creed, handicap, ancestry, national origin, age, or sex.  Contractor shall take affirmative action to ensure that applicants are employed, and that employees or agents are treated during employment, without regard to their race, color, religious creed, handicap, ancestry, national origin, age, or sex.  Such affirmative action shall include, but is not limited to: employment, upgrading, demotion or transfer, recruitment or recruitment advertising, layoff or termination, rates of pay or other forms of compensation, and selection for training.  Contractor shall post in conspicuous places, available to employees, agents, applicants for employment, and other persons, a notice to be provided by the contracting agency setting forth the provisions of this nondiscrimination clause.

2.     Contractor shall, in advertisements or requests for employment, placed by it or on its behalf, state that all qualified applicants will receive consideration for employment without regard to race, color, religious creed, handicap, ancestry, national origin, age, or sex.

3.     Contractor shall send each labor union or workers’ representative with which it has a collective bargaining agreement or other contract or understanding, a notice advising said labor union or workers’ representative of its commitment to this nondiscrimination clause.  Similar notice shall be sent to every other source or recruitment regularly utilized by Contractor.

4.     It shall be no defense to a finding of noncompliance with this nondiscrimination clause that Contractor had delegated some of its employment practices to any union, training program, or other source of recruitment which prevents it from meeting its obligations.  However, if the evidence indicates that the Contractor was not on notice of the third-party discrimination or made a good faith effort to correct it, such factor shall be considered in mitigation in determining appropriate sanctions.

- Where the practices of a union or any training program or other source of recruitment will result in the exclusion of minority group persons, so that Contractor will be unable to meet its obligations under this nondiscrimination clause, Contractor shall then employ and fill vacancies through other nondiscriminatory employment procedures.

- Contractor shall comply with all state and federal laws prohibiting discrimination in hiring or employment opportunities.  In the event of Contractor’s noncompliance with the nondiscrimination clause of this contract or with any such laws, this contract may be terminated or suspended, in whole or in part, and Contractor may be declared temporarily ineligible for further Commonwealth contracts, and other sanctions may be imposed and remedies invoked.

7.     Contractor shall furnish all necessary employment documents and records  to, and permit access to its books, records, and accounts by the contracting agency for purposes of investigation to ascertain compliance with the provisions of this clause.  If Contractor does not possess documents or records reflecting the necessary information requested, it shall furnish such information on reporting forms supplied by the contracting agency.

8.    	Contractor shall actively recruit minority and women subcontractors or  subcontractors with substantial minority representation among their  employees.

9.     Contractor shall include the provisions of this nondiscrimination clause in every subcontract, so that such provisions will be binding upon each Subcontractor.

10.   Contractor obligations under this clause are limited to the Contractor’s  facilities within Pennsylvania or, where the contract is for purchase of goods manufactured outside of Pennsylvania, the facilities at which such goods are actually produced.

ANTI-COLLUSION AFFIDAVIT

WASHINGTON COUNTY, PA

The undersigned deponent, deposes and says that he is the ____________________________  of the bidder; that he is authorized to make this statement on behalf of the bidder, and he hereby certifies on behalf of the bidder that:

- The price(s) and amount of this bid have been arrived at independently and without  consultation, communication or agreement for the purpose of restricting Competition with any other contractor, bidder or potential bidder.

(2)  Neither the price(s) nor the amount of this bid, and neither the approximate price(s) nor approximate amount of this bid, have been disclosed to any other firm or person who is a bidder or potential bidder, and they will not be disclosed before bid opening.

(3)	No attempt has been made or will be made to solicit, cause or induce any firm or person to refrain from bidding on this project, or submit a bid higher than this bid, or to submit any intentionally high or noncompetitive bid or other form of complementary bid.

(4)     The bid submitted by the bidder is made in good faith and not pursuant to any

agreement or discussion with, or inducement from, any firm or person to submit a 	complementary or other noncompetitive bid.

(5)	The bidder has not offered or entered into a subcontract or agreement regarding the purchase of materials or services from any firm or person, or offered, promised or paid cash or anything of value to any firm or person, whether in connection with this or any other project, in consideration for an agreement or promise by any firm or person to refrain from bidding or to submit a complementary bid on this project.

(6)	The bidder has not accepted or been promised any subcontract or agreement regarding the sale of materials or services to any firm or person, and has not been promised or paid cash or anything of value by any firm or person, whether in connection with this or any other project, in consideration for my firm’s submitting a complementary bid, or agreeing to do so, on this project.

(7)	I have made a diligent inquiry of all members, officers, employees, and agents of the bidder with responsibilities relating to the preparation, approval or submission of my firm’s bid on this project and have been advised by each of them that he or she has not participated in any communication, consultation, discussion, agreement, collusion, act or other inconsistent with any of the statements and representations made in this Statement.

(8)	No attempt has been made to take any action in restraint of free competitive bidding in connection with the bid.

(9)	It is understood that if any incidents resulting in conviction or being found liable are, set forth in (10) below, the Pennsylvania Anti Bid Act, 73 P.S. 1611 et seq. provides that it does not prohibit a governmental agency from accepting a bid from or awarding a contract to that person, but may be a ground for administrative suspension or debarment at the discretion of a government agency under rules and regulations of that agency (language omitted).

(10)	_____________________________ its affiliates,

(NAME OF BIDDER)

Subsidiaries, officers, directors and employees are not aware that they are currently under

investigation by any governmental agency and have not in the last three years been convicted or found liable for any act prohibited by State or Federal law in any jurisdiction, involving conspiracy or collusion with respect to bidding on any public contract, except as follows:

I hereby state that ___________________________________________							(BIDDER)

understands and acknowledges that the above representations are material and important, and will be relied on by Washington County, Pennsylvania in awarding the contract(s) for which this bid is submitted.  I understand that any misstatement in this affidavit is and shall be treated as fraudulent concealment from the Washington County, Pennsylvania of the true facts relating to the submission of  bids for this contract.

____________________________________

(BIDDER)

By:____________________________________

Sworn to and subscribed before me the undersigned notary public this

______________ day of __________, 20_____.

_______________________________________

(NOTARY PUBLIC)

My Commission Expires:

REQUIREMENTS FOR VENDORS DOING BUSINESS WITH WASHINGTON COUNTY

The awarded vendor must furnish and keep in full force, during the term of this contract, the following insurances:

Unless waived by the County in writing, Contractor shall obtain insurance of the types and in the amounts described below:

(1)  Commercial General and Umbrella Liability Insurance.

(a)   Contractor shall maintain Commercial General Liability (CGL) and, if necessary, Commercial Umbrella Insurance with a limit of not less than $1,000,000 each occurrence unless specified on addendum XXX.  If such CGL insurance obtains a general aggregate limit, it shall apply separately to this location or project.   CGL insurance shall be written on ISO occurrence form (or substitute form providing equivalent coverage). County of Washington shall be included as an insured under the CGL, using ISO additional insured endorsement CG2026 or a substitute providing equivalent coverage, and under the Commercial Umbrella, if any.  This insurance shall apply as primary insurance with respect to any other insurance or self-insurance programs afforded to County of Washington.  There shall be no endorsement or modification of the CGL policy which limits coverage for liability arising from claims based on sexual abuse or molestation.  If such an endorsement has been added to the Contractor’s CGL insurance, Contractor shall be required to obtain separate insurance coverage for claims based on sexual abuse or molestation.

(2)  Business Automobile and Umbrella Liability Insurance.

(a)  Contractor shall maintain Business Automobile Liability, and if necessary, Commercial Umbrella Liability insurance with a limit of not less than $1,000,000 each accident.  Such insurance shall cover liability arising out of any automobile, including owned, hired and non-owned automobiles.  Business automobile coverage shall be written on ISO form CA0001 or a substitute form providing equivalent liability coverage.  If necessary, the policy shall be endorsed to provide Contractual Liability coverage equivalent to that provided in the 1990 and later editions of CA0001.

(3)  Workers Compensation Insurance.

Contractor shall maintain Workers Compensation and Employers Liability Insurance.

(a)  The Employers Liability and/or Umbrella Liability limits shall not be less than $1,000,000 each accident for bodily injury by accident or $1,000,000 each employee for bodily injury by disease.

(4)  Insurance Requirements for all Policies.

- Contractor waives all rights against County of Washington and its agents, officers, directors, and employees for recovery of damages to the extent these damages are covered by the Commercial General Liability, Automobile Liability, or Umbrella Liability Insurance maintained pursuant to previous paragraph of this agreement.

(b)   By requiring insurance herein, County of Washington does not represent that  coverage and limits will necessarily be adequate to protect contractor, and such 				      coverage and limits shall not be deemed as a limitation on Contractor's Liability under the                     		      indemnities granted to County of Washington in this contract.

(c)  If Contractor's Liability does not contain the standard ISO separation of insured’s provision, or a substantially similar clause, they shall be endorsed to provide Cross-Liability coverage.

(d)  Prior to the commencement of terms of this contract, contractor shall furnish County of Washington with a certificate of insurance, executed by a duly authorized representative of each insurer, showing compliance with the insurance requirements set forth above.

(e)  All certificates of insurance shall provide for 30 days' written notice to County of Washington prior to the cancellation or material change of any insurance referred to therein.

(f)  Failure of County of Washington to demand such certificate or other evidence of full compliance with these insurance requirements or failure of County of Washington to identify a deficiency from evidence that is provided shall not be construed as a waiver of contractor's obligation to maintain such insurance.

(g)  Failure to maintain the required insurance may result in termination of this contract or other punitive measures, such as withholding payments or denying access to the premises at County of Washington's option.

(h) The contractor must agree to hold harmless and indemnify Washington County and its officials from and against any and all liability arising out of any action, claimed demand, suit, or cause of action which may be made or asserted against the County of Washington and its officials by reason of any acts of the agency, or its performance of the services contemplated by this contract.  The contractor insurance policy including: Commercial General Liability, Automobile Liability, or Umbrella Liability Insurance must be endorsed to include the County of Washington as additional insured.

(i)Certificates of Insurance must be delivered to Washington County within five (5) 	days after the award evidencing these coverages.

(j)  Insurance as required in the foregoing paragraphs shall be placed with an insurer  acceptable to the County with a Best Rating of A- or better.

Contractor:

By:_____________________________

Printed Name: ___________________

Title:___________________________

AGREEMENT

THIS AGREEMENT is made as of the       day of             , 200  , by and between the COUNTY OF WASHINGTON, a fourth class county duly incorporated under the laws of the Commonwealth of Pennsylvania (hereinafter "COUNTY"), for its Department of                          ,

A

N

D

, having an address of                                                                                                              (hereinafter "CONTRACTOR").

WHEREAS, County needs                                                       ; and

WHEREAS, Contractor has agreed to provide                                                     ; and

WHEREAS, the parties have reached an agreement and wish to reduce their agreement to writing.

NOW, THEREFORE, in consideration of the mutual covenants set forth herein, and intending to be legally bound hereby, the parties agree as follows:

I.  SCOPE OF WORK:

Contractor agrees to provide the following:

II.  TERM OF AGREEMENT:

The term of this Agreement will be from               , 200   until                              , 200 , unless otherwise terminated pursuant to the terms of this Agreement.

III.  COMPENSATION:

As consideration for the services to be rendered under this Agreement, County agrees to pay Contractor a sum not in excess of $                 , to be paid as follows:

IV.  INDEMNITY:

It is understood that Contractor is an independent Contractor in respect to its performance under this Agreement, and shall assume all risks and responsibilities for losses of every description in connection with the service which can be attributed either directly or indirectly to Contractor.  Contractor agrees to indemnify, defend and hold harmless the County, its agents and employees, for or on account of any damages or loss, including the cost of litigation or legal counsel resulting from the actions or lack of actions of Contractor in fulfilling the terms of this Agreement.

V.  NON-DISCRIMINATION; COMPLIANCE WITH APPLICABLE LAWS:

In the performance of its obligations under this Agreement, Contractor shall comply with the provisions of all applicable federal, state and local laws prohibiting discrimination on the grounds of age, race, color, sex, national origin, religion, citizenship, disability, sexual orientation, or veteran status. Further, Contractor agrees to comply with all applicable statutes, governmental regulations, judicial determinations and grant provisions.

VI.  INSURANCE:

Unless waived by the County in writing, Contractor shall obtain insurance of the types and in the amounts described below:

(1)  Commercial General and Umbrella Liability Insurance.

(a)   Contractor shall maintain Commercial General Liability (CGL) and, if necessary, Commercial Umbrella Insurance with a limit of not less than $1,000,000 each occurrence unless specified on addendum XXX.  If such CGL insurance obtains a general aggregate limit, it shall apply separately to this location or project.   CGL insurance shall be written on ISO occurrence form (or substitute form providing equivalent coverage). County of Washington shall be included as an insured under the CGL, using ISO additional insured endorsement CG2026 or a substitute providing equivalent coverage, and under the Commercial Umbrella, if any.  This insurance shall apply as primary insurance with respect to any other insurance or self-insurance programs afforded to County of Washington.  There shall be no endorsement or modification of the CGL policy which limits coverage for liability arising from claims based on sexual abuse or molestation.  If such an endorsement has been added to the Contractor’s CGL insurance, Contractor shall be required to obtain separate insurance coverage for claims based on sexual abuse or molestation.

(2)  Business Automobile and Umbrella Liability Insurance.

(a)  Contractor shall maintain Business Automobile Liability, and if necessary, Commercial Umbrella Liability insurance with a limit of not less than $1,000,000 each accident.  Such insurance shall cover liability arising out of any automobile, including owned, hired and non-owned automobiles.  Business automobile coverage shall be written on ISO form CA0001 or a substitute form providing equivalent liability coverage.  If necessary, the policy shall be endorsed to provide Contractual Liability coverage equivalent to that provided in the 1990 and later editions of CA0001.

(3)  Workers Compensation Insurance.

Contractor shall maintain Workers Compensation and Employers Liability Insurance.

(a)  The Employers Liability and/or Umbrella Liability limits shall not be less than $1,000,000 each accident for bodily injury by accident or $1,000,000 each employee for bodily injury by disease.

(4)  Insurance Requirements for all Policies.

- Contractor waives all rights against County of Washington and its agents, officers, directors, and employees for recovery of damages to the extent these damages are covered by the Commercial General Liability, Automobile Liability, or Umbrella Liability Insurance maintained pursuant to previous paragraph of this agreement.

(b)   By requiring insurance herein, County of Washington does not represent that  coverage and limits will necessarily be adequate to protect contractor, and such coverage and limits shall not be deemed as a limitation on Contractor's Liability under the indemnities granted to County of Washington in this contract.

(c)  If Contractor's Liability does not contain the standard ISO separation of insured’s provision, or a substantially similar clause, they shall be endorsed to provide Cross-Liability coverage.

(d)  Prior to the commencement of terms of this contract, contractor shall furnish County of Washington with a certificate of insurance, executed by a duly authorized representative of each insurer, showing compliance with the insurance requirements set forth above.

(e)  All certificates of insurance shall provide for 30 days' written notice to County of Washington prior to the cancellation or material change of any insurance referred to therein.

(f)  Failure of County of Washington to demand such certificate or other evidence of full compliance with these insurance requirements or failure of County of Washington to identify a deficiency from evidence that is provided shall not be construed as a waiver of contractor's obligation to maintain such insurance.

(g)  Failure to maintain the required insurance may result in termination of this contract or other punitive measures, such as withholding payments or denying access to the premises at County of Washington's option.

(h) The contractor must agree to hold harmless and indemnify Washington County and its officials from and against any and all liability arising out of any action, claimed demand, suit, or cause of action which may be made or asserted against the County of Washington and its officials by reason of any acts of the agency, or its performance of the services contemplated by this contract.  The contractor insurance policy including: Commercial General Liability, Automobile Liability, or Umbrella Liability Insurance must be endorsed to include the County of Washington as additional insured.

(i)Certificates of Insurance must be delivered to Washington County within five (5) 	days after the award evidencing these coverages.

(j)  Insurance as required in the foregoing paragraphs shall be placed with an insurer  acceptable to the County with a Best Rating of A- or better.

VII.  FUNDING:

If this Agreement is funded in whole or in part by federal, state or any other funding, it is understood that the County's obligations hereunder are expressly conditioned upon the availability of such funds.  	VIII.  TERMINATION:

This Agreement shall continue in force until the end of its term, and shall automatically terminate at the end of its term, unless County terminates this Agreement earlier by providing thirty (30) days' notice to Contractor of its intent to terminate.

County may terminate this Agreement at any time for any reason with or without cause; however, in the event County elects to terminate this Agreement, Contractor shall be entitled to compensation for services provided up to the point of termination.  	Without limiting any of the provisions of this section, County may terminate this Agreement immediately if (a) Contractor defaults in its obligations hereunder; (b) Contractor shall make an assignment for the benefit of creditors or file a voluntary petition in bankruptcy or shall be adjudicated bankrupt or insolvent, or shall file any petition or answer seeking any reorganization, arrangement, composition, readjustment, liquidation, dissolution, or similar relief for itself under any present or future federal, state, or other law or regulation for the relief of debtors, or shall seek or consent to acquiesce in the appointment of any trustee, receiver, or liquidator of all or any substantial part of its properties, or shall admit in writing its inability to pay its debts generally as they become due; or (c) a petition shall be filed against Contractor in bankruptcy or under any other law seeking any reorganization, arrangement, composition, readjustment, liquidation, dissolution or similar relief under any present or future federal, state or other law or regulation, and shall remain undismissed or unstayed for an aggregate of ninety (90) days (whether or not consecutive), or any debtor in possession, trustee, receiver or liquidator of Contractor or all or any substantial part of the properties of Contractor shall be appointed without consent or acquiescence and such appointment shall remain unvacated or unstayed for the aggregate of sixty (60) days (whether or not consecutive).

IX	REPRESENTATIONS AND WARRANTIES OF CONTRACTOR:

Contractor makes the additional representations and warranties set forth in this section, which are material representations and warranties upon which County has relied as inducements to enter into this Agreement:

(a)  This Agreement constitutes a valid and binding agreement by Contractor, enforceable in accordance with its terms, and neither the execution and delivery of this Agreement nor compliance with any of the provisions hereof will violate or conflict with or constitute a default under (or give rise to any right of termination, cancellation or acceleration under) the terms or conditions or provisions of any note, instrument, bond, lease, mortgage, obligation, agreement, understanding, arrangement, or restriction of any kind whatsoever to which Contractor is a party or by which it or its assets are bound or subject.

(b)  If Contractor is a corporation, it is duly organized and validly existing under the laws of the Commonwealth of Pennsylvania and has all requisite corporate power and authority to perform its obligations under this Agreement.

X.  NOTICES AND ADDRESSES:

Unless specifically provided herein, all notices required to be given under this Agreement shall be given to Contractor at the following street address (no post office box numbers) and/or telephone number:                                                                                                                     All notices to County shall be given in writing to the Board of Commissioners at the following address:  702 Courthouse Square, 100 West Beau Street, Washington, Pennsylvania 15301.

XI.   SEVERABILITY:

In case any one or more of the provisions contained in this Agreement shall for any reason be held to be invalid, illegal or unenforceable in any respect, such invalidity, illegality, or unenforceability shall not affect any other provision hereof and this Agreement shall be construed as if such invalid, illegal or unenforceable provision had never been contained herein.

XII.  AMENDMENT:

No amendment, modification or alteration of the terms hereof shall be binding unless the same be in writing dated subsequent to the date hereof, and duly executed by the parties hereto.

XIII.  RIGHTS AND REMEDIES CUMULATIVE:

The rights and remedies provided by this Agreement are cumulative and the use of any one right or remedy by the County shall not preclude or waive its right to use any or all other remedies.  Said rights or remedies are given in addition to any other rights County may have by law, statute, ordinance, resolution  or otherwise.

XIV.  WAIVER OF DEFAULT:

No waiver by the County of any default or breach of any term, condition or covenant of this Agreement shall be deemed to be a waiver of any other breach of the same or any other term, condition or covenant contained herein.

XV.  NO PARTNERSHIP, AGENCY, OR JOINT VENTURE:

Nothing contained in this Agreement shall constitute or be construed to be or create a partnership or joint venture between County, its successors or assigns, on the one part, and Contractor, its successors or permitted assigns, on the other part.  It is expressly understood and agreed by the parties hereto that Contractor shall at all times during the performance of services pursuant to this Agreement be acting as an independent contractor and that no act, commission or omission of Contractor shall be construed to make or render County, its principals, agents, or associates liable.

It is further understood and agreed by the parties hereto, that Contractor waives Governmental Immunity as a defense and shall not use the defense of Governmental Immunity in the adjustment of claims or in the defense of any suit, unless requested by the County.

XVI.  PARTIES BOUND; ASSIGNMENT:

At all times, this Agreement shall inure to the benefit of County and Contractor and their respective successors and assigns, and constitutes a binding obligation upon County and Contractor and their respective successors and assigns.  Notwithstanding the foregoing, Contractor shall make no assignment of this Agreement or of any right accruing hereunder, without the prior written consent of County.  A sale, transfer or other disposition of 50% or more of the voting stock or securities of Contractor shall, in the case of a corporation or partnership, constitute an assignment of this Agreement.

XVII.  ENTIRE AGREEMENT:

This Agreement constitutes the entire Agreement between County and Contractor with respect to the subject matters of this Agreement, and supersedes all prior agreements, understandings and letters related hereto, unless made by supplemental written agreement, executed and approved by County and Contractor.

XVIII.  HEADINGS:

The headings used before the various paragraphs of this Agreement are for ease of reference only and do not constitute parts of this Agreement.

XIX.  GOVERNING LAW:

This Agreement shall be governed by and interpreted under the laws of the Commonwealth of Pennsylvania.

IN WITNESS WHEREOF, the parties hereto, by their duly authorized representatives, have executed this Agreement as of the date first above written.

Washington County Commissioners

By:___________________________

Larry Maggi, Chairman

By:___________________________

Diana Irey Vaughan, Vice Chairman

By:___________________________

Harlan G Shober, Jr.

ATTEST:

Cynthia B Griffin				CONTRACTOR:___________________

By:___________________________

Chief Clerk					Printed Name:_________________

Title:________________________

Per Minute #________

dated ______________.

Approved as to form

and legality:

By:________________________

Solicitor/Assistant