GLUCOMETER COMPETENCY CHECKLIST

Name:								        Program Name:

Date:								        Individual Initials:

| SIGNATURE | SKILL |
| --- | --- |
|  | Reviews doctors orders and identifies individual (being careful to take note of parameters) |
|  | Understands rationale for Blood Glucose Monitoring |
|  | Understands signs and symptoms of high and low blood sugar |
|  | Washes hands and applies gloves, uses clean technique for procedure |
|  | Gathers equipment/supplies |
|  | Advises individual of procedure |
|  | Cleanses site to be tested (fingertip) (if using alcohol, allow to dry) |
|  | Turns on glucometer by inserting testing strip |
|  | Properly uses lancet and injects site |
|  | While holding individual’s finger, allows sip-in of blood on testing strip |
|  | Wipes site while applying pressure with a clean dry tissue until bleeding stops, then disposes of lancet into biohazard container |
|  | Reads results and documents |
|  | Is able to verbalize understanding of hypoglycemia and hyperglycemia and the need for calling 911 |
|  | Cleans and understands proper maintenance of glucometer per manufacturer |
|  | Gathers and puts away all equipment in designated area |

Comments: